# Civil Engineering Department
## Guru Nanak Dev Engineering College, Ludhiana
### M.Tech 2nd year
### MTST-610 Earthquake Resistant Design of Masonry and RC Buildings

Date: Wed 18 Nov 15 3rd House Test	Time: 02:30 p.m. to 04:00 p.m.	Max. Marks 30

Don't write anything on question paper except your Roll No. _____________

1	What structural deficiencies in Reinforced Concrete (RC) Buildings were exposed by Bhuj Earthquake? What lessons you leant from failures of RC buildings?	10
2	Why ductility is important for Earthquake Resistant Design? How it is assessed? Enlist factors affecting it.	10
3	What are the lessons learnt from the failures of Masonry Building due to Earthquakes? How Lateral Load Analysis of a Masonry Building is carried out?	10

#####

# Civil Engineering Department
## Guru Nanak Dev Engineering College, Ludhiana
### M.Tech 2nd year
### MTST-610 Earthquake Resistant Design of Masonry and RC Buildings

Date: Wed 18 Nov 15 3rd House Test	Time: 02:30 p.m. to 04:00 p.m.	Max. Marks 30

Don't write anything on question paper except your Roll No. _____________

1	What structural deficiencies in Reinforced Concrete (RC) Buildings were exposed by Bhuj Earthquake? What lessons you leant from failures of RC buildings?	10
2	Why ductility is important for Earthquake Resistant Design? How it is assessed? Enlist factors affecting it.	10
3	What are the lessons learnt from the failures of Masonry Building due to Earthquakes? How Lateral Load Analysis of a Masonry Building is carried out?	10

#####