## Intro
	Checklist of 1-way slab
Author	Sandeep kaur and Harpreet kaur
Email	dhaliwalsandeep91@gmail.com And h.harnakhe@gmail.com

## INPUT
Simply supported	Cantilever	Continuous
20	7	26
Type of slab	Cantilever
Total depth of slab
Clear cover			It is the cover which is provided over steel
Effective depth			It is equals to the effective depth+ clear cover
Width			Slab is usually Designed as a beam of one meter width to carry a moment over a strip of one meter
Dia. Of main bar
Dia. Of dist. Bar
Main steel			Steel witch is placed parallel to shorter span
Dist. Steel			steel which is placed parallel to longer span
c/c spacing of main bar
c/c spacing of dist. Bar
c/c distance of support			It is equals to the clear span +width of support
Clear span of slab
Span of slab	0
Effective span of slab	0		It is equals to minimum(Span of slab ,c/c distance of slab)
Shorter span to depth ratio

## Output
		Clause no.	Pg. no.

Allowable span to depth ratio	7	23.2.1	37
min. steel(for Fe 250)	0	26.5.2.1	48	The mild steel reinforcement in either direction in slab shell not be less than 0.15% of total cross sectional area
Min. steel (Fe>250)	0	26.5.2.1	48	For HYSD bars Reinforcement in either direction in slab shall not be less than 0.12%of total cross sectional area
Spacing of main bar	0	26.3.3	46	It should not exceed minimum of (3*effective depth,300)		m of (3*effective depth,300)
Spacing of dist. Bar	0	26.3.3	46	It should not exceed minimum of (5*effective depth,300)
Max. dia of bar	0	26.5.2.1	48	Dia. of reinforcement bar shall not exceed 1/8 of total depth of slab